## Checklist
Chicago Green Homes Program |  |  |  |  | Multi-Family Renovation Checklist | [6 empty] | Applicant Points | Enrollment Review Points | Audit Points | Certification Review Points
Project Checklist | [5 empty] | CGH Rating |  |  |  |  | 100 Sustainable Sites | 0
Date : | [5 empty] | Required Points | 200 | 250 | 300 |  | 200 Energy Efficiency | 0
[11 empty] | 300 Materials | 0
Instructions for Checklist | [10 empty] | 400 Health and Safety | 0
Reference the Chicago Green Homes Program Guide for details and requirements for the items listed in this Checklist. | [10 empty] | 500 Resource Conservation | 0
Submit completed Checklist with supporting documentation for both Enrollment and Certification Reviews. | [10 empty] | 600 Homeowner Education | 0
[11 empty] | 700 Innovation | 0
Please submit all documents to: | [10 empty] | Total Points | 0
ChicagoGreenHomes@cityofchicago.org |  |  | or mail to | Chicago Green Homes Program
Chicago Department of Environment
30 North Lasalle Street, 25th Floor
Chicago, Illinois 60640
Project Contact : |  |  |  | Project Address : |  |  |  | Check Appropriate Box |  |  | DOB Green Permit Program Menu Items (If Applicable) :
Email Address : | [7 empty] | Enrollment |  |  | 1
Phone Number : |  |  |  | Tax ID (PIN) : |  |  |  | Certification |  |  | 2
Project Type: Multi-Family (less than 80 feet in height) |  |  |  | Construction Type: Renovation | [6 empty] | 3
| Possible Points | Feature | [5 empty] | Drawing Sheet or Spec Number | Applicant Points | Applicant Comments
Sustainable Sites
Erosion & Sedimentation Control
100.R1 | 0 | Design site for erosion and sedimentation control
Site Selection
110.1 | 20 | Rehabilitate an existing building: (15 pts) Re-use of 75% structure and shell OR (20 pts) Re-use of 75% structure, shell and exterior finish
110.2 | 5 | Develop/Redevelop an infill site within an Empowerment Zone or TIF district
110.4 | 5 | Develop a site within 1/4 mile of community-based open space
Alternate Transportation
120.1 | 7 | Develop a site within 1/2 mile of public transportation
120.2 | 7 | Provide bicycle securing areas exceeding that required by zoning
120.3 | 2 | Provide accommodations for alternative fuel vehicles
120.4 | 5 | Provide preferred parking for carpooling or a car sharing program
Reduced Site Disturbance
130.1 | 5 | Protect/restore habitat areas within the site (25% min. of site area)
130.2 | 5 | Conserve on-site vegetated open space
130.3 | 10 | Encourage on-site produce gardening
130.4 | 5 | Design for bird safety
Stormwater Management
140.R1 | 0 | Capture and reuse stormwater on-site
140.1 | 7 | Reduce site's overall net imperviousness (NI): Sites currently above 50% NI; decrease NI by 25% OR Sites currently at or below 50% NI; do not increase NI
140.2 | 10 | Remove 80% total suspended solids (TSS) from stormwater runoff
140.3 | 8 | Install raingardens to reduce stormwater runoff
140.4 | 5 | Use permeable materials for at least 40% of driveways, patios, and walkways
Heat Island Reduction
151.1 | 7 | Provide shade for at least 40% of non-roof impervious surfaces (within 5 years)
151.2 | 7 | Use materials with a solar reflectance index (SRI) of 29 for at least 40% of non-roof impervious surfaces
151.3 | 7 | Provide covered parking for at least 50% of spaces
151.4 | 5 | Provide 50% pervious material for at least 50% of non-covered parking area
152.1 | 8 | Use roofing materials with a high solar reflectance index (SRI) for at least 75% of total roof area
152.2 | 20 | Provide a green roof system (10% min. of total roof area): (4 pts) 10% of total roof area OR (8 pts) 20% of total roof area OR (12 pts) 30% of total roof area OR (16 pts) 40% of total roof area OR (20 pts) 50% or greater of total roof area | [13 empty] | 785
Light Pollution Reduction
160.1 | 5 | Design lighting to reduce light pollution: (3 pts) Full cut-off exterior lighting fixtures - SF only - OR (5 pts) Incorporate all performance-based lighting measures
|  | Total Sustainable Sites Points: | [6 empty] | 0
Energy Efficiency
Minimum Energy Efficiency
200.R1 | 0 | Chicago Energy Conservation Code, Chapter 18-13
200.R2 | 0 | Achievement of a minimum of the minimum number of required points within the 200 - Energy Efficiency category of the Chicago Green Homes Program
200.R3 | 0 | HVAC system commissioning (common mechanical systems only)
Energy Use Reduction
210.1 | 40 | Home Energy Star rating: (30 pts) Energy Star criteria (Energy Index of 85 or lower OR Energy Star Builder's Option Package) OR (40 pts) Energy Star criteria (Energy Index of 75 or lower)
210.2 | 40 | LEED certification: (10 pts) LEED Certified OR (20 pts) LEED Silver OR (30 pts) LEED Gold OR (40 pts) LEED Platinum
210.3 | 20 | Meet ILDCEO Minimum Energy Standards
210.4 | 10 | Optimize building and window orientation for passive solar heating (≥ 20% of space heating requirement)
210.5 | 8 | Optimize building and window orientation to reduce summer solar heat gain
210.6 | 10 | Provide overhangs and/or shading devices to reduct summer solar heat gain through south-facing windows
210.7 | 50 | Exceed Chicago Energy Conservation Code per Simulated Performance Alternative criteria: (1 pt for each 1%; 50 pts max.)
Exterior Walls
211.1 | 10 | Reduce thermal bridging continuous envelope insulation): (5 pts) R-5 min. (90% min. net wall area) OR (10 pts) R-10 min. (90% min. net wall area)
211.2 | 10 | Reduce thermal bridging with insulated headers (R-13 min.)
211.3 | 8 | Minimum R-21 exterior wall insulation or equivalent wall assembly R-value
Air Sealing
212.1 | 10 | Advanced air sealing
212.2 | 10 | Blower door test not to exceed 0.25 CFM50/ft2 of building envelope area
212.3 | 6 | Sill plate gasket (wood frame contruction only): (3 pts) Sill plate sealed with gasket OR (6 pts) Sill plate sealed with gasket with integral moisture barrier
Attic & Roof
213.1 | 8 | Minimum R-52 roof insulation or equivalent roof assembly R-value
Foundations
214.1 | 10 | Foundation Systems: Insulated precast concrete foundation (R-19 or greater foundation wall assembly)
214.2 | 8 | Foundation Systems: Insulated Concrete Forms (ICFs) (R-19 or greater foundation wall assembly)
214.3 | 15 | Foundation Systems: Frost-protected shallow foundation (FPSF)(R-19 or greater foundation wall assembly)
214.4 | 12 | Minimum R-15 Basement foundation insulation: (8 pts) Full height interior foundation wall insulation to R-15 OR (12 pts) R-15 Insulated exterior or interior foundation wall to the footer
214.5 | 8 | Minimum R-20 Conditioned crawl space foundation insulation
214.6 | 8 | Minimum R-15 slab-on-grade insulation: (4 pts) R-15 full slab edge insulation and first 6' of slab perimeter OR (8 pts) R-15 slab edge and full slab insulation
Windows
215.1 | 10 | NFRC rated high-performance windows (75% of window area): (5 pts) Window unit U-value ≤ .31; (10 pts) Window unit U-value ≤ .28
215.2 | 3 | NFRC rated window with SHGC value no higher than 0.55 (75% of window area)
215.3 | 5 | Use heat gain and/or heat loss reduction strategies on windows
Mechanical Systems
220.2 | 20 | Active solar heating system: (5 pts) 5% min. (10 pts) 10% min. (15 pts) 15% min. OR (20 pts) 20% min. of space heating requirement
220.3 | 20 | Ground-source heat pump system: (15 pts) Space heating only OR (20 pts) Space heating, domestic hot water and air conditioning
220.4 | 10 | Air-source heat pump system (8.2 HSPF or greater)
Furnace
221.1 |  | High efficiency furnace (Choose 1: 221.1.1 OR 221.1.2)
221.1.1 | 5 | 92% or greater AFUE (≥ 50% total space heating load) OR
221.1.2 | 10 | Direct vent 92% or higher energy efficiency furnace (≥ 50% total space heating load)
221.2 | 5 | Meet's GAMA's rating for electrical efficiency for air handlers (90% or greater AFUE furnaces only)
221.3 | 5 | Include direct vent combination heater - domestic hot water/space heat (CAE ≥ 0.8)
221.4 | 8 | Duct system designed and sized using load calculations
221.5 |  | Air Return System (Choose 1: 221.5.1 OR 221.5.2)
221.5.1 | 4 | Transfer grilles or insulated jump ducts OR
221.5.2 | 8 | Hard-ducted return air system for all bedrooms
221.6 | 6 | Duct leakage test (10% maximum of total system airflow)
221.7 | 3 | All duct work located in conditioned space
221.8 | 1 | Modulating gas valve (90% or greater AFUE furnaces only)
Boilers
222.1 | 11 | Direct vent 90% or greater AFUE boiler
222.2 | 12 | Hydronic radiant floor heating system (with R-15 slab insulation): (6 pts) basement only (or for 25% of gsf of home/unit) OR (12 pts) entire building
222.3 | 1 | Modulating gas valve (88% or greater AFUE boilers only)
222.4 | 10 | Outdoor boiler reset control with automatic cut-off
Air Condtioning
223.1 | 7 | SEER 14 or greater air conditioner (with R410A or other non-HCFC refrigerant)
223.2 | 4 | Multi-stage condensing unit for air conditioning
Other
224.1 | 6 | Locate individual or central furnace/ boiler to middle 1/3 of building or unit
224.2 | 7 | Use passive or energy-efficient assisted stack ventilation with the building or unit
224.3 | 3 | Energy Star qualified programmable thermostat
224.4 | 5 | Zoned heating and/or cooling within unit (Zones < 1000 sf): (5 pts) Zoned heating and/or cooling with separate systems OR (5 pts) Single heating and/or cooling system with multiple thermostats
224.5 | 6 | Ceiling fans: (3 pts) One Energy Star qualified ceiling fan installed OR (6 pts) Two Energy Star rated ceiling fans installed
224.6 | 15 | Building automation system (BAS)
224.7 | 10 | Energy Star qualified rooftop HVAC units
Water Heating
230.1 | 20 | Solar domestic hot water system (≥ 50% of annual hot water needs)
230.2 | 7 | Provide rough-in for solar domestic hot water system
230.3 | 5 | Water heater (0.62 or greater EF): (3 pts) Standard storage type gas water heater OR (5 pts) Direct vent sealed combustion standard storage type gas water heater
230.4 | 3 | Drain waste heat recovery system
230.5 | 10 | Tankless water heaters: (10 pts) Direct vent or powered vented gas-fired tankless water heater (≥ 0.8 EF) OR (10 pts) Electric tankless water heater (>/=.99 EF)
230.6 | 2 | Point-of-use hot water system at farthest location from water heater
230.7 | 5 | Side arm water heater off of boiler (88% or greater AFUE boilers only)
230.8 | 3 | Water heater located near dishwasher and clothes washers (within 20 feet of each)
230.9 | 6 | Water pipe insulation: (4 pts) Insulate all hot water lines with standard flexible pipe insulation or better (R-3 in conditioned space, R-6 in unconditioned space); AND/OR (2 pts) Insulate all cold water lines with standard flexible pipe insulation or better
Appliances
240.R1 | 0 | Energy Star qualified major appliances (when major appliances are provided)
240.1 | 50 | Solar electric system: (10 pts) 1200 watts min. (20 pts) 2400 watts min. (30 pts) 3600 watts min. (40 pts) 4800 watts min. OR (50 pts) 6000 watts min. DC installed (per unit)
240.2 | 5 | Provide rough-in for future photovoltaic or wind turbine system
240.3 | 50 | Wind turbine: (5 pts) 0.5 kW min. system installed (per unit) (10 pts) 1kW system (20 pts) 2 kW system (30 pts) 3 kW system (40 pts) 4 kW system OR (50 pts) 5 kW system (per unit)
240.4 | 3 | Gas range with electronic ignition (when appliances are included)
240.5 | 3 | Provide gas rough-in for clothes dryer and/or range (when appliances are not included)
240.6 | 2 | Provide energy efficient appliances list to owner/occupant (when appliances are not included)
Lighting
250.1 | 3 | Solar-powered walkway or outdoor area lighting
250.2 | 9 | Energy efficient lighting: (9 pts) Install Energy Star Advanced Lighting Package ALP OR (9 pts) Install Energy Star qualified lamps (light bulbs) in 80% of fixtures | [13 empty] | 349
250.3 | 6 | Automatic lighting control system
250.4 | 3 | Recessed can lighting: (2 pts) Use air tight, insulation contact (IC) rated can lighting OR (3 pts) No recessed can lighting
250.5 | 8 | Purchase renewable energy certificates (1 year)
250.6 | 1 | Light colored interior walls, ceiling and soffits
250.7 | 8 | Light shelves (50% min. of significant living areas)
250.8 | 5 | Skylights/light tubes (U-value ≤.65; Provided for ≥ 25% of significant living areas)
Elevators
260.1 | 15 | Elevators: (2 pts) Per hydraulic elevator using biodegradable fluids (max. of 3) OR (5 pts) Per gearless elevator (max. of 3)
|  | Total Energy Efficiency Points: | [6 empty] | 0
Materials
Foundation
310.1 | 2 | Coal fly ash (class ' C' ) concrete
310.2 | 2 | Recycled concrete or glass cullet for concrete aggregate
310.3 | 1 | Solvent-free damp proofing
310.4 | 2 | Aluminum foundation forms
310.5 | 1 | Recycled-content expansion joint filler (≥ 50% recycled content)
310.6 | 2 | Use vegetable oil release agents on all forms used for concrete
Structural Frame
321.1 |  | Above-grade wall systems (Choose 1: 321.1.1 OR 321.1.2 OR 321.1.3 OR 321.1.4 OR 321.1.5 OR 321.1.6)
321.1.1 | 7 | Engineered wood for exterior wall framing (≥ 90% of stud-framed wall area) OR
321.1.2 | 11 | Insulated concrete forms (ICF's)(≥ 80% of conditioned wall area above grade) OR
321.1.3 | 11 | Precast insulated concrete panels (≥ 80% of conditioned wall area above grade) OR
321.1.4 | 20 | Advanced framing techniques (e.g. 2"x 6" at 24" o.c.)(≥ 90% of exterior stud-framed wall area) OR
321.1.5 | 25 | Structural insulated panels (SIPS)(≥ 75% of walls) OR
321.1.6 | 3 | Light-gauge steel studs for exterior wall framing (≥ 90% of exterior stud-framed wall area)
321.2 | 5 | FSC certified sustainably harvested lumber (≥ 90% of total stud wall area)
322.1 |  | Roof Systems (Choose 1: 322.1.1 OR 322.1.2)
322.1.1 | 7 | Engineered wood for roof framing (≥ 90% of roof area) OR
322.1.2 | 10 | Structural insulated panels (SIPs) (≥ 75% of total roof area)
322.2 | 5 | FSC certified sustainably harvested lumber for roof framing (≥90% of roof area)
323.1 | 7 | Engineered wood for floor framing (≥ 90% of floor area)
323.2 | 5 | FSC certified sustainably harvested lumber for floor framing (≥90% of floor area)
324.1 | 7 | Oriented Strand Board (OSB) with no added urea-formaldehyde
324.2 | 3 | Recycled-content underlayment (≥ 20% recycled content)
324.3 | 3 | No Lauan underlayment
324.4 | 2 | Oriented Strand Board (OSB) made from rapidly renewable material
325.1 | 7 | Engineered wood for beams (≥ 90% of structural applications)
325.2 | 4 | Engineered wood for window and door headers (≥ 90% of structural applications)
325.3 | 2 | Engineered wood plate material (100% of application)
325.4 | 5 | Engineered studs (≥90% of total interior stud wall area)
325.5 | 3 | Recycled-content gypsum wallboard (100% of wallboard)
325.6 | 3 | Recycled-content exterior sheathing (≥50% recycled content, ≥50% of wall sheathing)
Windows/Doors
330.1 | 5 | Window frames made from FSC certified sustainably harvested wood (≥75% of total window area)
330.2 | 6 | Insulated exterior doors; (R-5 or more)
330.3 | 3 | No Lauan doors
330.4 |  | Interior Doors (Choose 1: 330.4.1 OR 330.4.2)
330.4.1 | 3 | Regionally salvaged or recycled-content interior doors OR
330.4.2 | 5 | Interior doors made from FSC certified sustainably harvested wood
Insulation
340.1 |  | Insulation (Choose 1: 340.1.1 OR 340.1.2 OR 340.1.3)
340.1.1 | 3 | Recycled-content insulation (≥25% recycled content, ≥90% of exterior envelope area) OR
340.1.2 | 8 | Spray foam insulation (≥90% of exterior envelope area) OR
340.1.3 | 8 | Recycled-content insulation (≥75% recycled content, ≥90% of exterior envelope area)
340.2 | 1 | HCFC-free foam insulation (≥90% of foam insulation sheathing application area)
Exterior Wall Finishes
350.1 |  | Exterior wall finishes (Chose 1: 350.1.1 OR 350.1.2 OR 350.1.3)
350.1.1 | 5 | Regionally salvaged or recycled-content siding (salvaged from within 500 miles or ≥50% recycled content, ≥50% of exterior finish area) OR
350.1.2 | 5 | FSC certified sustainably harvested wood siding (≥50% of exterior finish area) OR
350.1.3 | 5 | Fiber cement siding (≥50% of exterior finish area)
350.2 | 5 | Regionally salvaged or recycled-content exterior trim (salvaged from within 500 miles or ≥50% recycled content, ≥50% of exterior trim area)
350.3 | 2 | Fiber cement exterior trim (100% of exterior trim area)
350.4 | 2 | Install window/door flashing per best construction practices (see diagram in guide)
350.5 | 8 | Regionally produced or salvaged masonry or stone (≥50% of exterior wall area)
Roofs
361.1 |  | Roofing (Choose 1: 361.1.1 OR 361.1.2)
361.1.1 | 3 | Composition, fiberglass or asphalt roofing (30 year minimum, ≥90% of total roofing material area) OR
361.1.2 | 8 | Metal, slate, clay or concrete roofing (40 year minimum, ≥90% of total roofing material area)
362.1 |  | Self adhering roof underlayment (Choose 1: 362.1.1 OR 362.1.2)
362.1.1 | 4 | Self-adhering roof underlayment for eaves, valleys, and penetrations (pitched roofs only) OR
362.1.2 | 6 | Self-adhering roof underlayment for entire roof (pitched roofs only)
362.2 | 3 | Recycled-content roofing material (≥90% of total roofing material area)
Finished Floor
371.1 | 8 | Hard surfaces (≥80% of the total finished floor area)
371.2 | 6 | Regionally salvaged wood flooring (≥10% of total finished floor area)
371.3 | 4 | Natural linoleum flooring with low VOC adhesives or backing (≥10% of total finished floor area)
371.4 | 7 | FSC certified sustainably harvested wood flooring (≥10% of total finished floor area)
371.5 | 4 | FSC certified sustainably harvested bamboo flooring (≥10% of total finished floor area)
371.6 | 4 | Cork flooring (≥10% of total finished floor area)
371.7 | 2 | Recycled-content flooring (≥50% recycled content, ≥10% of total finished floor area)
371.8 | 3 | Ceramic tile flooring with low VOC adhesives and plasticizer-free grout
372.1 | 6 | Natural fiber carpet, tacked not glued (≥10% of total finished floor area)
372.2 | 4 | Recycled-content carpet, tacked not glued (≥25% recycled content, ≥10% of total finished floor area)
372.3 | 3 | Natural or recycled-content carpet pad (≥10% of total finished floor area)
Cabinetry and Trim
380.1 | 6 | Regionally salvaged wood cabinet fronts (100% of cabinet fronts) | [13 empty] | 139
380.2 | 4 | Composite wood or agrifiber cabinets (100% of cabinet boxes)
380.3 | 4 | Composite wood or agrifiber shelving & countertops (100% of built-in shelving & countertop area)
380.4 | 5 | FSC certified sustainably harvested hardwood trim (≥75% of interior trim area)
380.5 | 1 | Engineered composite wood or agrifiber trim (≥75% of interior trim area)
Outdoor Materials
390.1 | 9 | Recycled-content outdoor materials (≥50% recycled content): (7 pts) 25% of all outdoor materials OR (8 pts) 50% of all outdoor materials OR (9 pts) 75% of all outdoor materials by surface area
390.2 | 8 | FSC certified sustainably harvested outdoor lumber (75% of lumber surface area)
390.3 | 9 | Regionally salvaged outdoor materials: (7 pts) for 25% of all outdoor materials (8 pts) for 50% of all outdoor materials OR (9 pts) for 75% of all outdoor materials by surface area
|  | Total Materials Points: | [6 empty] | 0
Health and Safety
Minimum Indoor Environmental Quality
400.R1 | 0 | No unvented combustion appliances
400.R2 | 0 | Full exterior drainage plane (for all new envelope area)
400.R3 | 0 | Install MERV 8 air filter (ensure that air handlers can maintain adequate pressure and airflow)
Indoor Air Quality
410.2 | 5 | Radon mitigation system (passive or active) installed to EPA guidelines
410.3 | 5 | Formaldehyde-free insulation throughout house (90% of insulation area)
Ventilation
420.1 | 12 | Energy & heat recovery ventilators: (12 pts) Energy Recovery Ventilator OR (12 pts) Heat Recovery Ventilator
420.2 | 8 | Continuous exhaust only mechanical ventilation system
420.3 | 6 | Bathroom exhaust fans per guide requirements
420.4 | 6 | Meets ASHRAE Standard 62.2-2007
420.5 | 6 | Range hood vented outside
420.6 | 4 | Sealed combustion fireplace (gas or wood) with outside combustion air
Air Filtering
430.1 |  | Filters (Choose 1: 430.1.1 OR 430.1.2)
430.1.1 | 10 | Install high-performance air filter (MERV 10 or greater; ensure that air handlers can maintain adequate pressure and airflow): (5 pts) ≥MERV 10 filter; (10 pts) ≥MERV 13 filter
430.1.2 | 10 | Install whole house HEPA filter (ensure that air handlers can maintain adequate pressure and airflow)
430.2 | 5 | Install central vacuum
Interior Finishes
440.1 | 4 | Low VOC wood finishes (100% of applications)
440.2 | 6 | Minimal VOC content paints, coatings & primers (100% of applications): (4 pts) Low VOC OR (6 pts) No VOC
440.3 | 4 | Low VOC sealers (100% of applications)
440.4 | 4 | Low-emitting carpet and carpet pad (100% of applications)
440.5 | 4 | Low VOC adhesives (100% of applications)
440.6 | 4 | Low VOC sealants (100% of applications)
Cabinetry
450.1 | 5 | All cabinets made from urea-formaldehyde-free composite wood or agrifiber
450.2 | 5 | All shelving & countertops made from urea-formaldehyde-free composite wood or agrifiber
Garages
460.1 | 10 | Garage isolated from living space: (10 pts) Detached garage OR (10 pts) Attached garage, with compliant air-sealing and testing
460.2 | 8 | Exhaust fan in attached garage (wired to delay timer/door opener): (6 pts) Exhaust fan in attached garage OR (8 pts) Solar-powered exhuast fan in attached garage
| Moisture Management | [14 empty] | 121
470.1 | 2 | Extend downspouts (5 ft, perpendicular to foundation face)
470.2 | 6 | Sealed ground cover in crawl spaces and under-floor below grade spaces
|  | Total Health & Safety Points: | [6 empty] | 0
Resource Conservation
Minimum Resource Conservation
500.R1 | 0 | Protect trees and natural features during construction
Land Use
510.1 | 4 | Save and reuse topsoil (determine value by soil analysis)
Materials Re-Use
520.1 | 5 | Regionally salvaged structural material: (3 pts) 5% min OR (5 pts) 10% min
520.2 | 5 | Regionally salvaged interior finish material: (3 pts) 5%min OR (5 pts) 10% min
520.3 | 1 | Recycled-content paints
Waste Reduction & Recycling
530.1 | 15 | Implement construction waste recycling plan diverting 75% of material from landfill (exceed City ordinance by 25%)
530.2 | 6 | Built-in recycling center with two or more bins in each unit
530.3 | 5 | Waste sorter with recycling functions
530.4 | 8 | Multi-unit recycling plan
530.5 | 6 | Provide home-scale composting
Water Conservation
541.1 |  | Water conserving toilets: (Choose 1: 541.1.1 for single-family homes OR 541.1.2 for multi-family projects)
541.1.2 | 12 | Toilets for multi-family: (6 pts) 1.1 gpf toilets (100% of toilets) OR (12 pts) Dual-flush toilets averaging 1.1 gpf (100% of toilets)
541.2 | 2 | Bathroom faucets fitted with aerator restricting flow to 1.8 gpm | [13 empty] | 58
541.3 | 2 | Kitchen faucet fitted with aerator restricting flow to 2.0 gpm
541.4 |  | Water conserving showerheads: (Choose 1: 541.4.1 for single-family homes OR 541.4.2 for multi-family projects)
541.4.2 | 10 | Showerheads for multi-family: (10 pts) Showerheads with flow rates under 2.5 gpm (100% of showerheads)
541.5 | 8 | Capture and reuse greywater on site
542.1 | 4 | Amended topsoil (3 cubic yds of soil amendment per 1000 sq ft of landscape area based on soil analysis)
542.2 | 2 | Irrigation system with efficiency device such as soil moisture or rain sensor
542.3 | 2 | Irrigation system designed for efficient distribution of water
542.4 | 6 | 50% max. cool season turf grass (fescue or bluegrass); remainder as non-turf bedding
542.5 | 6 | Install drought-tolerant native or adapted landscape; at least 50% of non-paved area
542.6 | 3 | Install bedding with mulch to depth of 3 inches
542.7 | 1 | Organic mulch or compost
|  | Total Resource Conservation Points: | [6 empty] | 0
Homeowner Education
Home Manual
610.R1 | 0 | Provide manual to owners/occupants/maintenance staff on basic issues related to use and care of their home | [13 empty] | 7
610.1 | 8 | Include additional information in the manual.
Education & Training
620.1 | 7 | Provide walk-through to owners/occupants/maintenance staff in the use and care of their home
620.2 | 10 | Provide video documentation of walk-through to owners/occupants/maintenance staff
|  | Total Homeowner Education Points: | [6 empty] | 0
Innovation
Innovation
710.1 | 15 | Innovation in residential design and construction (providing a measureable and quantifiable environmental benefit)
|  | Total Innovation Points: | [6 empty] | 0