Water Conservation Audit

| Water Account Number: |  |
| --- | --- |
| Name of Organization: |  |
| Property Address: |  |
| Phone Number: |  | Email Address: |  |
| Submitted by: |  | Date: |  |

# Building(s) Plumbing/Mechanical Systems

## This Water Conservation Plan applies for the following Building(s) associated with the Water Account Number indicated above (check all that apply):

| House of Worship |  | Rectory |  | Convent |  | School |  | Office |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Clinic or Medical Facility |  | Soup Kitchen |  | Shelter |  | Residence |  | Chapel |  |
| Other |  |

## Water meter information for the Account Number indicated above:

| Location (building name or address): |  |
| --- | --- |
|  | Indoor |  | or | Outdoor |  |

# Summary of Leak Detection Investigation

## Is water meter running continuously?

| Yes |  | No |  | Unknown |  |
| --- | --- | --- | --- | --- | --- |

## Building walk-thru survey to visually determine possible water leaks in the following general locations:

| Plumbing fixtures | Yes |  | No |  | N/A |  |
| --- | --- | --- | --- | --- | --- | --- |
| If yes, indicate location: |  |
| Kitchen equipment and sinks | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |
| Laundry equipment and sinks | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |
| Heating equipment | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |
| Cooling tower | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |
| Humidifiers | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |
| Non self-closing water hose(s) (landscaping, car washing, etc.) | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |

## Building walk-thru survey to examine walls, floors, ceilings, etc. for possible leaks occurring from piping installed within these locations (to also include underground locations):

| Yes |  | No |  | Unknown |  |
| --- | --- | --- | --- | --- | --- |
| Indicate location of leak(s): |  |

| Section II. Action Items |
| --- |
| Hire Leak Detection and Contractor services to locate buried leaks and to provide necessary repairs |
| Anticipated completion date of leak location: |  |
| Indicate location of repair: |  |
| Anticipated repair completion date: |  |
| Indicate location of repair: |  |
| Anticipated repair completion date: |  |

# Equipment Survey

(For instruction on visual identification of old vs. water efficient fixtures (e.g. toilet, urinals and shower heads, see video at <link>.  Faucet aerators are appropriate to all faucets, if they can be installed.)

## Survey of active tank type toilets:

|  | Total number of active tank type toilets |
| --- | --- |
|  | Number of active tank type toilets leaking water from tank into bowl |
| As determined by: | Visual observation |  | Colored food dye test* |  |

| Section III.A. Action Item |
| --- |
|  | Total number of active tank type toilets repaired or replaced |
|  |  | Total repaired by replacing Flush Handle and Float Assembly in tank |
|  |  | Total new Water Displacement Device installed in tank |
|  |  | Total tank toilets replaced with new water efficient fixture |

## Survey of active flush valve type toilets:

|  | Total number of active flush valve type toilets |
| --- | --- |
|  | Number of active flush valve type toilets leaking water from valve into bowl |
| As determined by: | Visual observation |  | Other |  |
|  | If other, please describe: |  |

| Section III.B. Action Item |
| --- |
|  | Total number of active flush valve type toilets repaired or replaced |
|  |  | Total repaired flush valve |
|  |  | Total replaced flush valve |
|  |  | Total flush valve toilets replaced with new water efficient fixture |

## Survey of active tank operated type urinals (overhead flushing tank with water supply operated by timer):

|  | Total number of active tank operated type urinals |
| --- | --- |
|  | Number of active flush tanks leaking water into urinals |
| As determined by: | Visual observation |  | Colored food dye test* |  |

| Section III.C. Action Item |
| --- |
|  | Total number of active tank operated type urinals repaired or replaced |
|  |  | Total repaired tank valve assembly and timer |
|  |  | Total replaced with separate flush valves on each urinal and removed tank assembly |
|  |  | Total tank operated type urinals replaced with new water efficient fixture |

## Survey of active flush valve type urinals:

|  | Total number of active flush valve type urinals |
| --- | --- |
|  | Number of active flush valves leaking water into urinals |
| As determined by: | Visual observation |  | Other |  |
|  | If other, please describe: |  |

| Section III.D. Action Item |
| --- |
|  | Total number of active flush valve type urinals repaired or replaced |
|  |  | Total repaired flush valve |
|  |  | Total replaced flush valves with new water efficient valve |

## Survey of active shower heads:

|  | Total number of active shower heads |
| --- | --- |
|  | Number of active shower heads leaking |
| As determined by: | Visual observation |  | Other |  |
|  | If other, please describe: |  |

| Section III.E. Action Item |
| --- |
|  | Total number of active shower heads repaired or replaced |
|  |  | Total repaired shower heads |
|  |  | Total replaced shower heads with water efficient head(s) |

## Survey of active faucets to sinks and/or lavatories:

|  | Total number of active faucets to sinks and/or lavatories |
| --- | --- |
|  | Number of active faucets to sinks and/or lavatories leaking |
| As determined by: | Visual observation |  | Other |  |
|  | If other, please describe: |  |

| Section III.F. Action Item |
| --- |
|  | Total number of active faucets repaired or replaced |
|  |  | Total repaired leaking faucet |
|  |  | Total added aerator device on faucet outlet |
|  |  | Total replaced faucet with water efficient faucet(s) |

## Survey of active dishwashers, disposal units and clothes washing machines:

### Survey of active dishwashers:

|  | Total number of active dishwashers |
| --- | --- |
|  |  | Total number of water efficient rated type dishwashers |
|  |  | Total number of non-water efficient rated type dishwashers |

### Survey of active disposal units:

|  | Total number of active disposal units |
| --- | --- |
|  |  | Total number of water efficient rated type disposal units |
|  |  | Total number of non-water efficient rated type disposal units |
|  | Total number of active disposal units |

### Survey of active clothes washing machines:

|  | Total number of active washing machines |
| --- | --- |
|  |  | Total number of water efficient rated type washing machines |
|  |  | Total number of non-water efficient rated type washing machines |

| Section III.G.1-3. Action Item |
| --- |
|  | Total number of dishwashers replaced with water efficient models |
|  | Total number of disposal units replaced with water efficient models |
|  |  | Number of disposal units removed (use garbage containers) |
|  | Total number of clothes washing machines replaced with water efficient models |

## Survey of water-based evaporative closed circuit cooling towers (associated with large building air conditioning mechanical system applications):

| Is the city water make-up to tower basin pump and valve assemblies operating in prescribed manner for this application? |
| --- |
| Yes |  | No |  | N/A |  |
| Is the amount of make-up coordinated with water blow-down chemistry analysis and controls to minimize wasting water make-up usage? |
| Yes |  | No |  | N/A |  |
| Are construction and operating conditions of tower basin, louvers, fans, water packing, etc. in good condition? |
| Yes |  | No |  | N/A |  |
| Is it possible to utilize make-up water from a rain water harvesting system? |
| Yes |  | No |  | N/A |  |

## Survey of water heating boiler equipment and city water make-up:

| City water make-up connection to boiler water return pumping and piping system: |
| --- |
| Is it leaking? | Yes |  | No |  | N/A |  |
| Is the pressure valve assembly the correct type and size? | Yes |  | No |  | N/A |  |
| Is the expansion tank the proper size? | Yes |  | No |  | N/A |  |
| Boiler: |
| Is it leaking? | Yes |  | No |  | N/A |  |
| Floor mounted radiators and heating coils installed in air conditioning equipment: |
| Is it leaking? | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |
| Hot water supply and return piping system: |
| Is it leaking? | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |

## Survey of steam heating boilers, equipment and city water make-up:

| City water make-up connection to boiler feed water level control assembly: |
| --- |
| Is it leaking? | Yes |  | No |  | N/A |  |
| Boiler: |
| Is it leaking? | Yes |  | No |  | N/A |  |
| Floor mounted radiators and heating coils installed in air conditioning equipment: |
| Is it leaking? | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |
| Condensate return pumps and piping system: |
| Is it leaking? | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |
| Steam supply piping and steam traps system: |
| Is it leaking? | Yes |  | No |  | N/A |  |
| If yes, indicate location: |  |

## Survey of equipment cooled with city water and then discharged to sewer:

| Does org. have equipment that is cooled with city water and then discharged to the sewer? |
| --- |
| Yes |  | No |  | Unknown |  |
| If yes, describe: |  |
| Can city water system be replaced with mechanical chilled water cooling system? |
| Yes |  | No |  | Unknown |  |

## Survey of active lawn/landscaping irrigation systems:

| Are the sprinkler heads installed to direct water to green area and not onto walks and pavement? |
| --- |
| Yes |  | No |  | N/A |  |
| Is the lawn/landscaping irrigation system operated from a timer? |
| Yes |  | No |  | N/A |  |
| Is the existing system being updated? |
| Yes |  | No |  | N/A |  |

## Survey of active water hose bibs (used for landscaping, car washing, etc.):

|  | Total number of active water hose bib outlets with hose attachments |
| --- | --- |
|  | Total number of lawn sprinkler attachments. |

| Section III.L-M. Action Items |
| --- |
|  | Total number of active water hose nozzles replaced with self-closing nozzles |
|  | Use only during hours of 5:00 am – 8:00 am and 7:00 pm – 10:00 pm Mon – Fri |
|  | Utilize water from rain barrels to supplement water usage |
|  | Use broom (not water hose) to clean walks and pavement |
|  | Install sprinkler heads directing water to green area, not walks and pavement |
|  | Install timer |
|  | Utilize a rain water harvesting system |